## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 72.9 |  | 48.9 |  | 50.2 | 63.9
Low: |  | 48 |  | 36.1 |  | 47.3 | 54.7
Conditions: |  | Sunny |  | Overcast |  | Moderate rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63965.7585 | 8 | 10548.8181 |  | 4157.7743 | 18464.19
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12575.0146 | 7 | 1445 |  | 817.3759 | 12738.36
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31958.4123 | 18 | 4636.22 |  | 2646.22 | 25100.73
Includes CFE, CISO & LDWP
WI TOTAL |  | 106973.1741 | 18 | 15750.4774 |  | 6989.7434 | 55738.28
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67601 | 8 | 16975
SRSG |  | 12944 | 18 | 3073
CAMX* |  | 32492 | 18 | 5690
WI TOTAL |  | 112181 | 18 | 24286
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 48.9
Low (F) | 36.1
Overcast |  | 63965.7585 | 67.05% | 67.05% | 32.95% | 63,966 MW
|  | 12575.0146 | 50.71% | 50.71% | 49.29% | 12,575 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 60.6 | 31958.4123 | 60.76% | 60.76% | 39.24% | 31,958 MW
Low (F) | 43
Partly Cloudy
Billings, MT
High (F) | 62.1
Low (F) | 24.6
Sunny
Loveland, CO
High (F) | 39.7
Low (F) | 28.9
Moderate or heavy snow showers
Los Angeles, CA
High (F) | 74.7
Low (F) | 55.4
Sunny
Phoenix, AZ
High (F) | 72.7
Low (F) | 44.6
Sunny
Salt Lake City, UT
High (F) | 47.7
Low (F) | 21.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,966 MW
12,575 MW
31,958 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend