## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 85.8 |  | 49.6 |  | 44.2 | 91
Low: |  | 56.7 |  | 27.5 |  | 42.1 | 66
Conditions: |  | Sunny |  | Sunny |  | Fog | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65012.7023 | 18 | 9783.1985 |  | 4225.8256 | 16244.48
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12853.385 | 18 | 1503 |  | 835.47 | 12198.23
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32945.6172 | 18 | 5079.11 |  | 2724.11 | 22758.12
Includes CFE, CISO & LDWP
WI TOTAL |  | 110973.6045 | 18 | 16365.3085 |  | 7162.5625 | 50657.83
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63889 | 18 | 16160
SRSG |  | 12276 | 17 | 2568
CAMX* |  | 29884 | 19 | 4618
WI TOTAL |  | 105883 | 18 | 24193
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 49.6
Low (F) | 27.5
Sunny |  | 65012.7023 | 68.15% | 68.15% | 31.85% | 65,013 MW
|  | 12853.385 | 51.83% | 51.83% | 48.17% | 12,853 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.3 | 32945.6172 | 62.64% | 62.64% | 37.36% | 32,946 MW
Low (F) | 45.7
Overcast
Billings, MT
High (F) | 65.5
Low (F) | 30
Cloudy
Loveland, CO
High (F) | 73
Low (F) | 38.5
Sunny
Los Angeles, CA
High (F) | 74.1
Low (F) | 59.2
Partly Cloudy
Phoenix, AZ
High (F) | 99
Low (F) | 62.1
Sunny
Salt Lake City, UT
High (F) | 72.9
Low (F) | 42.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,013 MW
12,853 MW
32,946 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend