## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.1 |  | 46 |  | 47.7 | 67.8
Low: |  | 41.7 |  | 27.1 |  | 45 | 52.9
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65091.7434 | 18 | 9007.1588 |  | 4230.9633 | 18299.72
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12625.9637 | 18 | 1455 |  | 820.6876 | 12684.67
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32606.6854 | 18 | 4756.95 |  | 2736.95 | 26779.81
Includes CFE, CISO & LDWP
WI TOTAL |  | 110503.6925 | 18 | 15219.1088 |  | 7225.0138 | 57242.2
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67290 | 18 | 16875
SRSG |  | 12812 | 18 | 2670
CAMX* |  | 32671 | 18 | 5302
WI TOTAL |  | 112773 | 18 | 24847
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 46
Low (F) | 27.1
Sunny |  | 65091.7434 | 68.24% | 68.24% | 31.76% | 65,092 MW
|  | 12625.9637 | 50.92% | 50.92% | 49.08% | 12,626 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.9 | 32606.6854 | 61.99% | 61.99% | 38.01% | 32,607 MW
Low (F) | 46.9
Patchy rain nearby
Billings, MT
High (F) | 43.5
Low (F) | 28.2
Patchy rain nearby
Loveland, CO
High (F) | 52.3
Low (F) | 30.4
Partly Cloudy
Los Angeles, CA
High (F) | 70.7
Low (F) | 53.2
Sunny
Phoenix, AZ
High (F) | 74.8
Low (F) | 48.4
Sunny
Salt Lake City, UT
High (F) | 38.7
Low (F) | 27.3
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,092 MW
12,626 MW
32,607 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend