## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.8 |  | 45.3 |  | 49.1 | 66
Low: |  | 43.5 |  | 28.6 |  | 45.5 | 50.4
Conditions: |  | Patchy rain nearby |  | Overcast |  | Heavy rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 64887.6549 | 18 | 9091.4789 |  | 4217.6976 | 19300.8
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12458.2078 | 18 | 1321 |  | 809.7835 | 11419.3
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32795.9667 | 18 | 4817.71 |  | 2724.71 | 30583.69
Includes CFE, CISO & LDWP
WI TOTAL |  | 110289.1294 | 18 | 15230.1889 |  | 7094.9939 | 60858.79
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68070 | 18 | 18264
SRSG |  | 12650 | 18 | 2462
CAMX* |  | 32674 | 18 | 5412
WI TOTAL |  | 113394 | 18 | 26138
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 45.3
Low (F) | 28.6
Overcast |  | 64887.6549 | 68.02% | 68.02% | 31.98% | 64,888 MW
|  | 12458.2078 | 50.24% | 50.24% | 49.76% | 12,458 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.8 | 32795.9667 | 62.35% | 62.35% | 37.65% | 32,796 MW
Low (F) | 47.7
Patchy rain nearby
Billings, MT
High (F) | 50.7
Low (F) | 24.1
Sunny
Loveland, CO
High (F) | 52.5
Low (F) | 28.9
Sunny
Los Angeles, CA
High (F) | 76.8
Low (F) | 54.7
Sunny
Phoenix, AZ
High (F) | 79.7
Low (F) | 47.5
Sunny
Salt Lake City, UT
High (F) | 51.1
Low (F) | 20.8
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
64,888 MW
12,458 MW
32,796 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend