## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-14
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.3 |  | 46.4 |  | 47.8 | 66
Low: |  | 47.3 |  | 30.6 |  | 43.5 | 48.7
Conditions: |  | Patchy rain nearby |  | Partly Cloudy |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65039.6065 | 18 | 10103.504 |  | 4227.5744 | 20730.44
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12659.1805 | 18 | 1469 |  | 822.8467 | 11920.93
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32407.0625 | 18 | 4444.72 |  | 2720.72 | 29307.91
Includes CFE, CISO & LDWP
WI TOTAL |  | 110252.3495 | 18 | 16017.224 |  | 7072.532 | 61446.28
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68149 | 18 | 15550
SRSG |  | 12666 | 7 | 3286
CAMX* |  | 32923 | 18 | 5071
WI TOTAL |  | 113716 | 18 | 23665
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 46.4
Low (F) | 30.6
Partly Cloudy |  | 65039.6065 | 68.18% | 68.18% | 31.82% | 65,040 MW
|  | 12659.1805 | 51.05% | 51.05% | 48.95% | 12,659 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.1 | 32407.0625 | 61.61% | 61.61% | 38.39% | 32,407 MW
Low (F) | 44.7
Moderate rain
Billings, MT
High (F) | 57
Low (F) | 27.7
Sunny
Loveland, CO
High (F) | 59.2
Low (F) | 27
Sunny
Los Angeles, CA
High (F) | 65.5
Low (F) | 54.1
Partly Cloudy
Phoenix, AZ
High (F) | 84
Low (F) | 48.4
Sunny
Salt Lake City, UT
High (F) | 55.2
Low (F) | 28.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,040 MW
12,659 MW
32,407 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend