## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.3 |  | 28.4 |  | 40.3 | 74.8
Low: |  | 40.6 |  | 18.3 |  | 36.5 | 64.8
Conditions: |  | Sunny |  | Moderate or heavy snow showers |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69136.4805 | 18 | 10195.9808 |  | 4493.8712 | 16944.5
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12565.7231 | 18 | 1507 |  | 816.772 | 10647.52
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32788.8666 | 18 | 4501.95 |  | 2655.95 | 26609.46
Includes CFE, CISO & LDWP
WI TOTAL |  | 114578.6702 | 18 | 16204.9308 |  | 7324.5538 | 53899.48
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67961 | 18 | 17904
SRSG |  | 12488 | 18 | 3259
CAMX* |  | 30190 | 18 | 5471
WI TOTAL |  | 110639 | 18 | 26634
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 28.4
Low (F) | 18.3
Moderate or heavy snow showers |  | 69136.4805 | 72.48% | 72.48% | 27.52% | 69,136 MW
|  | 12565.7231 | 50.67% | 50.67% | 49.33% | 12,566 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43.7 | 32788.8666 | 62.34% | 62.34% | 37.66% | 32,789 MW
Low (F) | 38.7
Moderate rain
Billings, MT
High (F) | 40.6
Low (F) | 26.8
Overcast
Loveland, CO
High (F) | 54.7
Low (F) | 24.8
Sunny
Los Angeles, CA
High (F) | 59.5
Low (F) | 51.1
Partly Cloudy
Phoenix, AZ
High (F) | 70.9
Low (F) | 43.7
Sunny
Salt Lake City, UT
High (F) | 36.1
Low (F) | 29.7
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,136 MW
12,566 MW
32,789 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend