## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.5 |  | 30 |  | 44.6 | 75.7
Low: |  | 36.1 |  | 11.7 |  | 34.3 | 55.2
Conditions: |  | Cloudy |  | Mist |  | Moderate rain | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69655.3887 | 18 | 9873.048 |  | 4527.6003 | 18972.62
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12766.1206 | 7 | 1817 |  | 829.7978 | 11685.23
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33021.7727 | 19 | 4195.38 |  | 2511.38 | 28507.35
Includes CFE, CISO & LDWP
WI TOTAL |  | 115129.2096 | 18 | 16062.078 |  | 7186.931 | 58513.2
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72542 | 18 | 15324
SRSG |  | 12908 | 18 | 3072
CAMX* |  | 33084 | 18 | 5449
WI TOTAL |  | 118534 | 18 | 23845
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 30
Low (F) | 11.7
Mist |  | 69655.3887 | 73.02% | 73.02% | 26.98% | 69,655 MW
|  | 12766.1206 | 51.48% | 51.48% | 48.52% | 12,766 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 44.8 | 33021.7727 | 62.78% | 62.78% | 37.22% | 33,022 MW
Low (F) | 38.3
Moderate rain
Billings, MT
High (F) | 39.6
Low (F) | 21.6
Sunny
Loveland, CO
High (F) | 44.8
Low (F) | 23.5
Sunny
Los Angeles, CA
High (F) | 70.5
Low (F) | 48.6
Sunny
Phoenix, AZ
High (F) | 71.8
Low (F) | 45.5
Sunny
Salt Lake City, UT
High (F) | 36.1
Low (F) | 18
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,655 MW
12,766 MW
33,022 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend