## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.6 |  | 22.5 |  | 48.7 | 65.7
Low: |  | 50.5 |  | 14.2 |  | 38.7 | 48.6
Conditions: |  | Patchy rain nearby |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 68218.033 | 18 | 7859.3241 |  | 4434.1721 | 19679.94
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12790.2662 | 7 | 1560 |  | 831.3673 | 11695.85
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33055.086 | 18 | 4849.66 |  | 2764.66 | 28027.84
Includes CFE, CISO & LDWP
WI TOTAL |  | 113785.1808 | 18 | 14081.9841 |  | 7396.0367 | 58694.63
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73860 | 17 | 14066
SRSG |  | 13233 | 7 | 3010
CAMX* |  | 33439 | 18 | 5323
WI TOTAL |  | 120177 | 18 | 22303
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 22.5
Low (F) | 14.2
Overcast |  | 68218.033 | 71.51% | 71.51% | 28.49% | 68,218 MW
|  | 12790.2662 | 51.58% | 51.58% | 48.42% | 12,790 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.6 | 33055.086 | 62.85% | 62.85% | 37.15% | 33,055 MW
Low (F) | 43
Patchy rain nearby
Billings, MT
High (F) | 43.2
Low (F) | 18.7
Sunny
Loveland, CO
High (F) | 45
Low (F) | 15.4
Sunny
Los Angeles, CA
High (F) | 73.2
Low (F) | 53.8
Sunny
Phoenix, AZ
High (F) | 79
Low (F) | 45.3
Sunny
Salt Lake City, UT
High (F) | 54.3
Low (F) | 19.8
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
68,218 MW
12,790 MW
33,055 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend