## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.3 |  | 29.1 |  | 49.5 | 62.2
Low: |  | 49.3 |  | 14.4 |  | 41.4 | 44.6
Conditions: |  | Moderate rain |  | Partly Cloudy |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66863.8555 | 18 | 7673.8594 |  | 4346.1506 | 19222.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12771.7284 | 7 | 1628 |  | 830.1623 | 11751.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33086.7076 | 18 | 4300.41 |  | 2760.41 | 27238.84
Includes CFE, CISO & LDWP
WI TOTAL |  | 112590.0152 | 18 | 13469.2694 |  | 7318.351 | 57596.2
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 70059 | 18 | 13076
SRSG |  | 13264 | 7 | 3253
CAMX* |  | 33292 | 15 | 5822
WI TOTAL |  | 116136 | 18 | 21166
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 29.1
Low (F) | 14.4
Partly Cloudy |  | 66863.8555 | 70.09% | 70.09% | 29.91% | 66,864 MW
|  | 12771.7284 | 51.51% | 51.51% | 48.49% | 12,772 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.9 | 33086.7076 | 62.91% | 62.91% | 37.09% | 33,087 MW
Low (F) | 40.1
Moderate rain
Billings, MT
High (F) | 50
Low (F) | 20.8
Sunny
Loveland, CO
High (F) | 53.1
Low (F) | 26.1
Cloudy
Los Angeles, CA
High (F) | 70.3
Low (F) | 51.4
Sunny
Phoenix, AZ
High (F) | 82.2
Low (F) | 44.1
Sunny
Salt Lake City, UT
High (F) | 56.8
Low (F) | 28.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,864 MW
12,772 MW
33,087 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend