## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 54.7 |  | 14.7 |  | 43.7 | 69.3
Low: |  | 48 |  | 5.7 |  | 39.4 | 47.5
Conditions: |  | Patchy rain nearby |  | Cloudy |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69678.663 | 18 | 9216.2281 |  | 4529.1131 | 16678.1
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12734.1656 | 18 | 1695 |  | 827.7208 | 11046.21
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32967.5691 | 18 | 4381.55 |  | 2761.55 | 23547.57
Includes CFE, CISO & LDWP
WI TOTAL |  | 115380.3977 | 18 | 15292.7781 |  | 7499.7259 | 51029.88
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69912 | 18 | 15113
SRSG |  | 12484 | 18 | 3976
CAMX* |  | 30364 | 18 | 5551
WI TOTAL |  | 112760 | 18 | 24640
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 14.7
Low (F) | 5.7
Cloudy |  | 69678.663 | 73.04% | 73.04% | 26.96% | 69,679 MW
|  | 12734.1656 | 51.35% | 51.35% | 48.65% | 12,734 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48 | 32967.5691 | 62.68% | 62.68% | 37.32% | 32,968 MW
Low (F) | 43
Patchy rain nearby
Billings, MT
High (F) | 43.2
Low (F) | 11.7
Sunny
Loveland, CO
High (F) | 49.5
Low (F) | 23.5
Partly Cloudy
Los Angeles, CA
High (F) | 65.7
Low (F) | 54.5
Partly Cloudy
Phoenix, AZ
High (F) | 77
Low (F) | 53.4
Cloudy
Salt Lake City, UT
High (F) | 46
Low (F) | 16.3
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,679 MW
12,734 MW
32,968 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend