## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-11-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 54.5 |  | 28.6 |  | 42.1 | 56.5
Low: |  | 47.2 |  | 2.7 |  | 32.7 | 37
Conditions: |  | Mist |  | Partly Cloudy |  | Fog | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69253.0921 | 18 | 10037.9221 |  | 4501.451 | 17767.53
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13040.7568 | 18 | 1433 |  | 847.6492 | 10930.02
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32878.7609 | 18 | 4833.4 |  | 2767.4 | 23392.94
Includes CFE, CISO & LDWP
WI TOTAL |  | 115172.6098 | 18 | 16304.3221 |  | 7341.9312 | 51735.49
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72534 | 18 | 14868
SRSG |  | 13693 | 17 | 3428
CAMX* |  | 33015 | 12 | 5776
WI TOTAL |  | 118466 | 18 | 23662
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 28.6
Low (F) | 2.7
Partly Cloudy |  | 69253.0921 | 72.6% | 72.6% | 27.4% | 69,253 MW
|  | 13040.7568 | 52.59% | 52.59% | 47.41% | 13,041 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 46.6 | 32878.7609 | 62.51% | 62.51% | 37.49% | 32,879 MW
Low (F) | 43
Mist
Billings, MT
High (F) | 46.8
Low (F) | 19
Partly Cloudy
Loveland, CO
High (F) | 50.4
Low (F) | 28
Partly Cloudy
Los Angeles, CA
High (F) | 62.6
Low (F) | 56.3
Overcast
Phoenix, AZ
High (F) | 77.7
Low (F) | 51.8
Partly Cloudy
Salt Lake City, UT
High (F) | 42.1
Low (F) | 34.9
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,253 MW
13,041 MW
32,879 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend