## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 66.2 |  | 39 |  | 38.3 | 59
Low: |  | 45.3 |  | 7.9 |  | 32.5 | 34
Conditions: |  | Sunny |  | Partly Cloudy |  | Fog | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71391.5957 | 18 | 9794.933 |  | 4640.4537 | 15831.1
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13071.3599 | 18 | 1403 |  | 849.6384 | 9890.8
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32588.3916 | 19 | 4607.29 |  | 2730.29 | 22799.4
Includes CFE, CISO & LDWP
WI TOTAL |  | 117028.807 | 18 | 15932.493 |  | 7606.8725 | 48312.3
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71595 | 18 | 15548
SRSG |  | 12720 | 18 | 3415
CAMX* |  | 29878 | 18 | 5664
WI TOTAL |  | 114193 | 18 | 24627
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 39
Low (F) | 7.9
Partly Cloudy |  | 71391.5957 | 74.84% | 74.84% | 25.16% | 71,392 MW
|  | 13071.3599 | 52.71% | 52.71% | 47.29% | 13,071 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.8 | 32588.3916 | 61.96% | 61.96% | 38.04% | 32,588 MW
Low (F) | 31.6
Sunny
Billings, MT
High (F) | 48.7
Low (F) | 15.4
Sunny
Loveland, CO
High (F) | 46
Low (F) | 26.2
Sunny
Los Angeles, CA
High (F) | 66.4
Low (F) | 52.2
Partly Cloudy
Phoenix, AZ
High (F) | 82.9
Low (F) | 50
Sunny
Salt Lake City, UT
High (F) | 43.7
Low (F) | 23.4
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,392 MW
13,071 MW
32,588 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend