## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.7 |  | 38.1 |  | 50.7 | 46.2
Low: |  | 44.6 |  | 28.8 |  | 45.3 | 25.9
Conditions: |  | Partly Cloudy |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69177.7047 | 8 | 11143.0591 |  | 4496.5508 | 17103.46
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12617.9983 | 18 | 1463 |  | 820.1699 | 11549.75
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31590.3099 | 18 | 4787.88 |  | 2710.88 | 25269.13
Includes CFE, CISO & LDWP
WI TOTAL |  | 112661.2555 | 18 | 15736.3187 |  | 7042.3457 | 53572.34
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74189 | 8 | 17918
SRSG |  | 12961 | 18 | 3322
CAMX* |  | 32776 | 10 | 5625
WI TOTAL |  | 118715 | 18 | 24782
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 38.1
Low (F) | 28.8
Overcast |  | 69177.7047 | 72.52% | 72.52% | 27.48% | 69,178 MW
|  | 12617.9983 | 50.89% | 50.89% | 49.11% | 12,618 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 45.3 | 31590.3099 | 60.06% | 60.06% | 39.94% | 31,590 MW
Low (F) | 33.8
Partly Cloudy
Billings, MT
High (F) | 51.1
Low (F) | 26.8
Sunny
Loveland, CO
High (F) | 55
Low (F) | 28.2
Sunny
Los Angeles, CA
High (F) | 75.2
Low (F) | 52.9
Sunny
Phoenix, AZ
High (F) | 78.3
Low (F) | 54.5
Sunny
Salt Lake City, UT
High (F) | 41.4
Low (F) | 25.3
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,178 MW
12,618 MW
31,590 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend