## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.6 |  | 34.7 |  | 41.7 | 56.3
Low: |  | 36.7 |  | 18.7 |  | 36.1 | 50.2
Conditions: |  | Sunny |  | Sunny |  | Mist | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71960.022 | 18 | 11798.7649 |  | 4677.4014 | 15899.42
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12896.5611 | 18 | 1503 |  | 838.2765 | 11486.64
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32638.3332 | 19 | 4863.85 |  | 2723.85 | 23289.86
Includes CFE, CISO & LDWP
WI TOTAL |  | 117407.1147 | 18 | 18200.9049 |  | 7520.1979 | 50499.92
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71911 | 18 | 18852
SRSG |  | 12876 | 18 | 3926
CAMX* |  | 30510 | 18 | 5251
WI TOTAL |  | 115297 | 18 | 28029
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 34.7
Low (F) | 18.7
Sunny |  | 71960.022 | 75.44% | 75.44% | 24.56% | 71,960 MW
|  | 12896.5611 | 52.01% | 52.01% | 47.99% | 12,897 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 41.4 | 32638.3332 | 62.05% | 62.05% | 37.95% | 32,638 MW
Low (F) | 35.7
Fog
Billings, MT
High (F) | 37.6
Low (F) | 28
Cloudy
Loveland, CO
High (F) | 41.9
Low (F) | 23.9
Partly Cloudy
Los Angeles, CA
High (F) | 68.5
Low (F) | 49.3
Partly Cloudy
Phoenix, AZ
High (F) | 72.7
Low (F) | 45.7
Sunny
Salt Lake City, UT
High (F) | 30
Low (F) | 21.2
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,960 MW
12,897 MW
32,638 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend