## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-10
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59 |  | 26.4 |  | 42.4 | 52
Low: |  | 39.9 |  | 17.2 |  | 34.7 | 40.3
Conditions: |  | Sunny |  | Partly Cloudy |  | Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72339.8253 | 8 | 12130.8604 |  | 4702.0886 | 17704.36
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13248.8634 | 20 | 1369 |  | 861.1761 | 11719.79
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33244.3231 | 19 | 4758.32 |  | 2789.32 | 23987.08
Includes CFE, CISO & LDWP
WI TOTAL |  | 118373.5011 | 18 | 16004.8186 |  | 7597.7356 | 52709.23
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75902 | 18 | 16135
SRSG |  | 13368 | 18 | 3504
CAMX* |  | 33349 | 18 | 5540
WI TOTAL |  | 122619 | 18 | 25179
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 26.4
Low (F) | 17.2
Partly Cloudy |  | 72339.8253 | 75.83% | 75.83% | 24.17% | 72,340 MW
|  | 13248.8634 | 53.43% | 53.43% | 46.57% | 13,249 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 44.1 | 33244.3231 | 63.21% | 63.21% | 36.79% | 33,244 MW
Low (F) | 31.3
Partly Cloudy
Billings, MT
High (F) | 36.7
Low (F) | 24.6
Overcast
Loveland, CO
High (F) | 41.7
Low (F) | 20.3
Sunny
Los Angeles, CA
High (F) | 74.5
Low (F) | 51.6
Sunny
Phoenix, AZ
High (F) | 67.6
Low (F) | 40.6
Sunny
Salt Lake City, UT
High (F) | 37.9
Low (F) | 22.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,340 MW
13,249 MW
33,244 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend