## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61 |  | 31.5 |  | 53.8 | 55
Low: |  | 44.8 |  | 20.8 |  | 39.4 | 35.4
Conditions: |  | Cloudy |  | Overcast |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71657.9722 | 18 | 8907.2061 |  | 4657.7682 | 18740.71
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14063.2914 | 7 | 1555 |  | 914.1139 | 12126.58
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33059.8379 | 19 | 4665.35 |  | 2775.35 | 24500.83
Includes CFE, CISO & LDWP
WI TOTAL |  | 117521.092 | 18 | 14831.1161 |  | 7569.9541 | 54691.12
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 76961 | 18 | 14665
SRSG |  | 13588 | 19 | 3560
CAMX* |  | 33642 | 19 | 5292
WI TOTAL |  | 123953 | 18 | 23239
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 31.5
Low (F) | 20.8
Overcast |  | 71657.9722 | 75.12% | 75.12% | 24.88% | 71,658 MW
|  | 14063.2914 | 56.71% | 56.71% | 43.29% | 14,063 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.5 | 33059.8379 | 62.85% | 62.85% | 37.15% | 33,060 MW
Low (F) | 35.4
Overcast
Billings, MT
High (F) | 43.9
Low (F) | 27.3
Overcast
Loveland, CO
High (F) | 50.2
Low (F) | 19.9
Sunny
Los Angeles, CA
High (F) | 69.3
Low (F) | 50
Overcast
Phoenix, AZ
High (F) | 67.5
Low (F) | 39.4
Overcast
Salt Lake City, UT
High (F) | 44.2
Low (F) | 16.9
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,658 MW
14,063 MW
33,060 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend