## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 52.2 |  | 21.7 |  | 42.3 | 61.2
Low: |  | 45.1 |  | 12.9 |  | 39.6 | 36.3
Conditions: |  | Moderate rain |  | Mist |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71954.6985 | 18 | 9204.585 |  | 4677.0554 | 17073.08
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13459.6127 | 7 | 1421 |  | 874.8748 | 10753.47
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33513.2899 | 18 | 4513.75 |  | 2798.75 | 25696.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 118713.5776 | 18 | 15191.335 |  | 7540.862 | 53280.7
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75631 | 18 | 14573
SRSG |  | 14421 | 7 | 3411
CAMX* |  | 33887 | 10 | 5765
WI TOTAL |  | 123015 | 18 | 23089
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 21.7
Low (F) | 12.9
Mist |  | 71954.6985 | 75.43% | 75.43% | 24.57% | 71,955 MW
|  | 13459.6127 | 54.28% | 54.28% | 45.72% | 13,460 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 42.4 | 33513.2899 | 63.72% | 63.72% | 36.28% | 33,513 MW
Low (F) | 35.4
Patchy rain nearby
Billings, MT
High (F) | 43.2
Low (F) | 22.8
Partly Cloudy
Loveland, CO
High (F) | 46.2
Low (F) | 24.8
Partly Cloudy
Los Angeles, CA
High (F) | 58.5
Low (F) | 52.5
Partly Cloudy
Phoenix, AZ
High (F) | 75.6
Low (F) | 48.9
Overcast
Salt Lake City, UT
High (F) | 48
Low (F) | 24.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,955 MW
13,460 MW
33,513 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend