## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 53.1 |  | 35.2 |  | 45 | 57.7
Low: |  | 46 |  | 16.2 |  | 39.4 | 41
Conditions: |  | Patchy rain nearby |  | Cloudy |  | Moderate rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70505.5085 | 18 | 10228.3268 |  | 4582.8581 | 18297.65
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13326.4845 | 7 | 1338 |  | 866.2215 | 11896.87
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33047.5176 | 18 | 4668.21 |  | 2699.21 | 25004.62
Includes CFE, CISO & LDWP
WI TOTAL |  | 116454.505 | 18 | 16386.5368 |  | 7378.3658 | 54525.14
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74336 | 17 | 16695
SRSG |  | 13714 | 7 | 3190
CAMX* |  | 35199 | 15 | 6270
WI TOTAL |  | 122234 | 18 | 24830
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 35.2
Low (F) | 16.2
Cloudy |  | 70505.5085 | 73.91% | 73.91% | 26.09% | 70,506 MW
|  | 13326.4845 | 53.74% | 53.74% | 46.26% | 13,326 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 45.3 | 33047.5176 | 62.83% | 62.83% | 37.17% | 33,048 MW
Low (F) | 39.7
Moderate rain
Billings, MT
High (F) | 46.4
Low (F) | 21.2
Partly Cloudy
Loveland, CO
High (F) | 44.4
Low (F) | 24.6
Overcast
Los Angeles, CA
High (F) | 63.3
Low (F) | 50.4
Sunny
Phoenix, AZ
High (F) | 67.5
Low (F) | 43.3
Sunny
Salt Lake City, UT
High (F) | 39.2
Low (F) | 26.1
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,506 MW
13,326 MW
33,048 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend