## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 49.5 |  | 18.5 |  | 40.6 | 67.1
Low: |  | 45.9 |  | 14.9 |  | 36 | 60.3
Conditions: |  | Moderate rain |  | Mist |  | Moderate rain | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72519.3111 | 18 | 10429.4395 |  | 4713.7552 | 16185.83
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13742.2453 | 7 | 2168 |  | 893.2459 | 11026.36
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34356.8295 | 19 | 4619.54 |  | 2620.54 | 20861.53
Includes CFE, CISO & LDWP
WI TOTAL |  | 119873.835 | 18 | 16803.6395 |  | 7703.2685 | 47655.72
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71882 | 18 | 17584
SRSG |  | 12959 | 19 | 4018
CAMX* |  | 31648 | 20 | 4045
WI TOTAL |  | 116448 | 18 | 26101
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 18.5
Low (F) | 14.9
Mist |  | 72519.3111 | 76.02% | 76.02% | 23.98% | 72,519 MW
|  | 13742.2453 | 55.42% | 55.42% | 44.58% | 13,742 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.6 | 34356.8295 | 65.32% | 65.32% | 34.68% | 34,357 MW
Low (F) | 40.5
Moderate rain
Billings, MT
High (F) | 37
Low (F) | 22.8
Cloudy
Loveland, CO
High (F) | 46
Low (F) | 19.4
Sunny
Los Angeles, CA
High (F) | 69.1
Low (F) | 52.5
Sunny
Phoenix, AZ
High (F) | 71.6
Low (F) | 41.5
Sunny
Salt Lake City, UT
High (F) | 46.2
Low (F) | 18.9
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,519 MW
13,742 MW
34,357 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend