## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.1 |  | 38.3 |  | 52.2 | 47.3
Low: |  | 45 |  | 17.4 |  | 48.2 | 34.9
Conditions: |  | Partly Cloudy |  | Cloudy |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67345.3697 | 18 | 10916.8847 |  | 4254.1247 | 16802.13
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12688.5516 | 7 | 1714 |  | 782.06 | 10617.23
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32181.3871 | 18 | 4651.7 |  | 2731.7 | 19783.98
Includes CFE, CISO & LDWP
WI TOTAL |  | 112328.0074 | 18 | 17190.5847 |  | 7790.6847 | 46834.34
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71492 | 18 | 15598
SRSG |  | 13305 | 7 | 4065
CAMX* |  | 33704 | 18 | 5024
WI TOTAL |  | 118124 | 18 | 24319
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 38.3
Low (F) | 17.4
Cloudy |  | 67345.3697 | 70.6% | 70.6% | 29.4% | 67,345 MW
|  | 12688.5516 | 51.17% | 51.17% | 48.83% | 12,689 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.6 | 32181.3871 | 61.18% | 61.18% | 38.82% | 32,181 MW
Low (F) | 43.5
Overcast
Billings, MT
High (F) | 52.2
Low (F) | 26.8
Partly Cloudy
Loveland, CO
High (F) | 53.8
Low (F) | 25.7
Sunny
Los Angeles, CA
High (F) | 63.1
Low (F) | 51.6
Partly Cloudy
Phoenix, AZ
High (F) | 81.9
Low (F) | 45.1
Sunny
Salt Lake City, UT
High (F) | 55
Low (F) | 25.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,345 MW
12,689 MW
32,181 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend