## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-12-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64.4 |  | 37.8 |  | 46.6 | 54
Low: |  | 53.5 |  | 24.8 |  | 43.7 | 38.1
Conditions: |  | Overcast |  | Cloudy |  | Moderate rain | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 69433.9844 | 18 | 11300.2349 |  | 4564.9529 | 14533.54
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12966.7156 | 18 | 1714 |  | 842.8365 | 8908.09
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32623.8344 | 18 | 4693.55 |  | 2781.55 | 18851.75
Includes CFE, CISO & LDWP
WI TOTAL |  | 115206.9345 | 18 | 17707.7849 |  | 8134.3729 | 42069.38
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68396 | 18 | 18685
SRSG |  | 12502 | 17 | 4796
CAMX* |  | 30477 | 18 | 4779
WI TOTAL |  | 111352 | 18 | 27767
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 37.8
Low (F) | 24.8
Cloudy |  | 69433.9844 | 72.79% | 72.79% | 27.21% | 69,434 MW
|  | 12966.7156 | 52.29% | 52.29% | 47.71% | 12,967 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.3 | 32623.8344 | 62.03% | 62.03% | 37.97% | 32,624 MW
Low (F) | 45.5
Patchy rain nearby
Billings, MT
High (F) | 48
Low (F) | 26.1
Partly Cloudy
Loveland, CO
High (F) | 50.5
Low (F) | 33.6
Overcast
Los Angeles, CA
High (F) | 60.1
Low (F) | 51.8
Mist
Phoenix, AZ
High (F) | 77.9
Low (F) | 48.9
Sunny
Salt Lake City, UT
High (F) | 45.7
Low (F) | 34.7
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
69,434 MW
12,967 MW
32,624 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend