## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 51.5 |  | 26.4 |  | 44.5 | 39.2
Low: |  | 43.5 |  | 1.8 |  | 38.8 | 26.1
Conditions: |  | Mist |  | Partly Cloudy |  | Mist | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71616.5901 | 18 | 11726.4886 |  | 4703.5816 | 15761.6
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13504.4254 | 7 | 2119 |  | 877.7877 | 10070.13
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32512.2415 | 19 | 4772.67 |  | 2720.67 | 19233.22
Includes CFE, CISO & LDWP
WI TOTAL |  | 116777.24 | 18 | 18125.9686 |  | 8193.6716 | 44380.95
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71322 | 18 | 15551
SRSG |  | 12896 | 18 | 3788
CAMX* |  | 29690 | 19 | 4989
WI TOTAL |  | 113747 | 18 | 24963
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 26.4
Low (F) | 1.8
Partly Cloudy |  | 71616.5901 | 75.08% | 75.08% | 24.92% | 71,617 MW
|  | 13504.4254 | 54.46% | 54.46% | 45.54% | 13,504 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.3 | 32512.2415 | 61.81% | 61.81% | 38.19% | 32,512 MW
Low (F) | 37.9
Partly Cloudy
Billings, MT
High (F) | 27
Low (F) | 2.2
Mist
Loveland, CO
High (F) | 33.6
Low (F) | 17.2
Moderate snow
Los Angeles, CA
High (F) | 66.8
Low (F) | 54.7
Sunny
Phoenix, AZ
High (F) | 67.8
Low (F) | 38.3
Sunny
Salt Lake City, UT
High (F) | 38.6
Low (F) | 32.7
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,617 MW
13,504 MW
32,512 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend