## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.3 |  | 35.1 |  | 43.4 | 39.3
Low: |  | 41.1 |  | 14.4 |  | 37.8 | 24.8
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71428.3302 | 18 | 11977.504 |  | 4660.495 | 17202.24
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13893.4463 | 7 | 1739 |  | 903.074 | 10713.85
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32545.9927 | 19 | 4744.94 |  | 2730.94 | 21462.3
Includes CFE, CISO & LDWP
WI TOTAL |  | 116853.4066 | 19 | 18501.173 |  | 8220.904 | 48797.39
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74091 | 18 | 13744
SRSG |  | 14151 | 7 | 3379
CAMX* |  | 31973 | 18 | 5176
WI TOTAL |  | 119495 | 18 | 22055
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 35.1
Low (F) | 14.4
Sunny |  | 71428.3302 | 74.88% | 74.88% | 25.12% | 71,428 MW
|  | 13893.4463 | 56.03% | 56.03% | 43.97% | 13,893 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.9 | 32545.9927 | 61.88% | 61.88% | 38.12% | 32,546 MW
Low (F) | 32.3
Sunny
Billings, MT
High (F) | 24.5
Low (F) | -6.3
Freezing fog
Loveland, CO
High (F) | 23.4
Low (F) | 11.5
Heavy snow
Los Angeles, CA
High (F) | 62.2
Low (F) | 54.1
Patchy rain nearby
Phoenix, AZ
High (F) | 69
Low (F) | 52.7
Sunny
Salt Lake City, UT
High (F) | 34.9
Low (F) | 16.8
Light freezing rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,428 MW
13,893 MW
32,546 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend