## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.6 |  | 33.8 |  | 37.8 | 44.4
Low: |  | 36.5 |  | 16 |  | 34.5 | 28.8
Conditions: |  | Sunny |  | Partly Cloudy |  | Fog | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73285.4289 | 18 | 15481.0691 |  | 4839.4731 | 17512.44
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15524.9864 | 7 | 1960 |  | 1009.1241 | 9843.2
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32862.5321 | 19 | 4615.99 |  | 2688.99 | 19684.48
Includes CFE, CISO & LDWP
WI TOTAL |  | 120050.21 | 19 | 21444.9795 |  | 8342.8435 | 46500.12
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72705 | 18 | 15861
SRSG |  | 13947 | 7 | 3930
CAMX* |  | 29401 | 19 | 4497
WI TOTAL |  | 115680 | 18 | 24894
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 33.8
Low (F) | 16
Partly Cloudy |  | 73285.4289 | 76.82% | 76.82% | 23.18% | 73,285 MW
|  | 15524.9864 | 62.61% | 62.61% | 37.39% | 15,525 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43.3 | 32862.5321 | 62.48% | 62.48% | 37.52% | 32,863 MW
Low (F) | 28.8
Mist
Billings, MT
High (F) | 33.1
Low (F) | 19.6
Moderate or heavy snow showers
Loveland, CO
High (F) | 36.7
Low (F) | 12
Sunny
Los Angeles, CA
High (F) | 68.2
Low (F) | 47.7
Sunny
Phoenix, AZ
High (F) | 63.7
Low (F) | 33.8
Sunny
Salt Lake City, UT
High (F) | 27.3
Low (F) | 14.2
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,285 MW
15,525 MW
32,863 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend