## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-14
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.3 |  | 39.2 |  | 41.4 | 49.3
Low: |  | 39.9 |  | 17.4 |  | 36.1 | 25.9
Conditions: |  | Sunny |  | Sunny |  | Mist | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72283.6824 | 8 | 12856.312 |  | 4797.517 | 18274.46
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15697.5842 | 7 | 1761 |  | 1020.343 | 10415.13
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32774.5491 | 19 | 4614.07 |  | 2732.07 | 21494.56
Includes CFE, CISO & LDWP
WI TOTAL |  | 118625.9265 | 19 | 17899.1383 |  | 8269.6733 | 49489.15
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 76305 | 18 | 15460
SRSG |  | 15885 | 7 | 3595
CAMX* |  | 32293 | 9 | 6108
WI TOTAL |  | 122680 | 18 | 24157
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 39.2
Low (F) | 17.4
Sunny |  | 72283.6824 | 75.77% | 75.77% | 24.23% | 72,284 MW
|  | 15697.5842 | 63.3% | 63.3% | 36.7% | 15,698 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 46.4 | 32774.5491 | 62.31% | 62.31% | 37.69% | 32,775 MW
Low (F) | 33.4
Fog
Billings, MT
High (F) | 41.2
Low (F) | 22.5
Partly Cloudy
Loveland, CO
High (F) | 39.2
Low (F) | 13.1
Sunny
Los Angeles, CA
High (F) | 70
Low (F) | 48
Sunny
Phoenix, AZ
High (F) | 68.9
Low (F) | 34.5
Sunny
Salt Lake City, UT
High (F) | 30
Low (F) | 14.7
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,284 MW
15,698 MW
32,775 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend