## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61 |  | 37.6 |  | 45.5 | 36
Low: |  | 43.3 |  | 23.2 |  | 37.2 | 28.9
Conditions: |  | Sunny |  | Overcast |  | Partly Cloudy | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71624.2928 | 8 | 12481.1597 |  | 4801.6377 | 17941.2
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15006.7086 | 7 | 1765 |  | 975.4361 | 11270.9
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32167.7319 | 19 | 4500.7 |  | 2618.7 | 23519.04
Includes CFE, CISO & LDWP
WI TOTAL |  | 117035.1565 | 8 | 19652.3397 |  | 8195.1577 | 51956.14
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 75792 | 8 | 17350
SRSG |  | 16142 | 7 | 3306
CAMX* |  | 33948 | 9 | 5863
WI TOTAL |  | 124309 | 8 | 27408
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 37.6
Low (F) | 23.2
Overcast |  | 71624.2928 | 75.08% | 75.08% | 24.92% | 71,624 MW
|  | 15006.7086 | 60.52% | 60.52% | 39.48% | 15,007 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.1 | 32167.7319 | 61.16% | 61.16% | 38.84% | 32,168 MW
Low (F) | 33.6
Cloudy
Billings, MT
High (F) | 43.2
Low (F) | 23
Sunny
Loveland, CO
High (F) | 51.3
Low (F) | 15.1
Sunny
Los Angeles, CA
High (F) | 73.2
Low (F) | 50.7
Sunny
Phoenix, AZ
High (F) | 72.3
Low (F) | 39.6
Sunny
Salt Lake City, UT
High (F) | 39.6
Low (F) | 11.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,624 MW
15,007 MW
32,168 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend