## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 53.8 |  | 19.2 |  | 39.4 | 53.6
Low: |  | 43.3 |  | 14.5 |  | 30.4 | 32.7
Conditions: |  | Sunny |  | Overcast |  | Mist | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71904.2659 | 9 | 13657.5505 |  | 4871.5815 | 17859.92
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13616.6313 | 7 | 1709 |  | 885.081 | 9987.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31659.168 | 19 | 4345.96 |  | 2530.96 | 22033.32
Includes CFE, CISO & LDWP
WI TOTAL |  | 116070.5344 | 8 | 21009.5215 |  | 8251.4195 | 49222.15
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74861 | 8 | 18447
SRSG |  | 15070 | 8 | 5746
CAMX* |  | 32725 | 8 | 5464
WI TOTAL |  | 122656 | 8 | 29657
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-01-17 |  | Path 80 |  | 4 | 5

## Map
Weather Information
Calgary, AB
High (F) | 19.2
Low (F) | 14.5
Overcast |  | 71904.2659 | 75.38% | 75.38% | 24.62% | 71,904 MW
|  | 13616.6313 | 54.91% | 54.91% | 45.09% | 13,617 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 39 | 31659.168 | 60.19% | 60.19% | 39.81% | 31,659 MW
Low (F) | 30.9
Fog
Billings, MT
High (F) | 28.6
Low (F) | 19
Partly Cloudy
Loveland, CO
High (F) | 45
Low (F) | 20.7
Partly Cloudy
Los Angeles, CA
High (F) | 54
Low (F) | 47.3
Overcast
Phoenix, AZ
High (F) | 68
Low (F) | 42.1
Sunny
Salt Lake City, UT
High (F) | 35.8
Low (F) | 23
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,904 MW
13,617 MW
31,659 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend