## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.7 |  | 32.4 |  | 39.6 | 31.1
Low: |  | 39.7 |  | 19.6 |  | 34.7 | 21.7
Conditions: |  | Sunny |  | Overcast |  | Overcast | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 77840.1265 | 8 | 11304.1995 |  | 5166.0475 | 18858.68
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15694.6345 | 7 | 1748 |  | 1020.1512 | 11454
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32492.1433 | 19 | 5127.9 |  | 2779.9 | 20585.09
Includes CFE, CISO & LDWP
WI TOTAL |  | 124335.543 | 8 | 18260.1794 |  | 8490.0475 | 50382.77
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80983 | 9 | 18907
SRSG |  | 14947 | 7 | 3702
CAMX* |  | 31892 | 18 | 5224
WI TOTAL |  | 126748 | 18 | 23707
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 32.4
Low (F) | 19.6
Overcast |  | 77840.1265 | 81.6% | 81.6% | 18.4% | 77,840 MW
|  | 15694.6345 | 63.29% | 63.29% | 36.71% | 15,695 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.1 | 32492.1433 | 61.78% | 61.78% | 38.22% | 32,492 MW
Low (F) | 29.5
Partly Cloudy
Billings, MT
High (F) | 35.8
Low (F) | 4.6
Overcast
Loveland, CO
High (F) | 42.1
Low (F) | -6.2
Sunny
Los Angeles, CA
High (F) | 69.6
Low (F) | 45
Sunny
Phoenix, AZ
High (F) | 62.6
Low (F) | 33.8
Sunny
Salt Lake City, UT
High (F) | 36.1
Low (F) | 4.3
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
77,840 MW
15,695 MW
32,492 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend