## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64.6 |  | 30.9 |  | 38.7 | 44.1
Low: |  | 44.4 |  | 15.6 |  | 29.7 | 26.2
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73666.5004 | 8 | 11828.4498 |  | 4910.1348 | 20065.61
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15281.1359 | 7 | 1368 |  | 993.2738 | 10395.23
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31067.3636 | 19 | 3758.35 |  | 2692.35 | 22968.51
Includes CFE, CISO & LDWP
WI TOTAL |  | 118650.9472 | 8 | 17730.3698 |  | 8206.8248 | 53405.35
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80249 | 8 | 16351
SRSG |  | 15902 | 7 | 3158
CAMX* |  | 32155 | 8 | 4416
WI TOTAL |  | 127830 | 8 | 25450
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-01-23 |  | Path 80 |  | 4 | 6

## Map
Weather Information
Calgary, AB
High (F) | 30.9
Low (F) | 15.6
Sunny |  | 73666.5004 | 77.22% | 77.22% | 22.78% | 73,667 MW
|  | 15281.1359 | 61.62% | 61.62% | 38.38% | 15,281 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43 | 31067.3636 | 59.07% | 59.07% | 40.93% | 31,067 MW
Low (F) | 31.8
Mist
Billings, MT
High (F) | 30.7
Low (F) | 16.5
Overcast
Loveland, CO
High (F) | 43.7
Low (F) | 13.5
Partly Cloudy
Los Angeles, CA
High (F) | 70.2
Low (F) | 48.9
Sunny
Phoenix, AZ
High (F) | 67.6
Low (F) | 34.9
Sunny
Salt Lake City, UT
High (F) | 37.9
Low (F) | 13.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,667 MW
15,281 MW
31,067 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend