## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 49.6 |  | 41 |  | 36.5 | 58.3
Low: |  | 37.4 |  | 23.4 |  | 32.2 | 45
Conditions: |  | Cloudy |  | Partly Cloudy |  | Mist | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 75898.017 | 8 | 11290.1689 |  | 4720.5059 | 16490.89
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14554.2952 | 7 | 1394 |  | 946.0292 | 10287.74
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33144.9697 | 19 | 4440.82 |  | 2773.82 | 22379.11
Includes CFE, CISO & LDWP
WI TOTAL |  | 121563.8478 | 8 | 17918.8689 |  | 8049.0459 | 48779.74
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 79312 | 8 | 15269
SRSG |  | 14927 | 7 | 2766
CAMX* |  | 33491 | 8 | 5155
WI TOTAL |  | 127138 | 8 | 24041
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 41
Low (F) | 23.4
Partly Cloudy |  | 75898.017 | 79.56% | 79.56% | 20.44% | 75,898 MW
|  | 14554.2952 | 58.69% | 58.69% | 41.31% | 14,554 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.6 | 33144.9697 | 63.02% | 63.02% | 36.98% | 33,145 MW
Low (F) | 31.6
Sunny
Billings, MT
High (F) | 46.9
Low (F) | 16.3
Partly Cloudy
Loveland, CO
High (F) | 37.8
Low (F) | 23.4
Sunny
Los Angeles, CA
High (F) | 55.4
Low (F) | 48.6
Partly Cloudy
Phoenix, AZ
High (F) | 62.1
Low (F) | 42.6
Thundery outbreaks in nearby
Salt Lake City, UT
High (F) | 38.1
Low (F) | 13.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
75,898 MW
14,554 MW
33,145 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend