## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-01-31
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 49.1 |  | 28.2 |  | 43.3 | 62.4
Low: |  | 45.3 |  | 20.8 |  | 33.6 | 48.4
Conditions: |  | Moderate rain |  | Overcast |  | Heavy rain | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70459.9779 | 8 | 13286.4771 |  | 4861.796 | 17367.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15028.795 | 7 | 1492 |  | 976.8717 | 9908.58
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32502.1496 | 19 | 5131.15 |  | 2729.15 | 22068.13
Includes CFE, CISO & LDWP
WI TOTAL |  | 116117.8714 | 8 | 20318.1671 |  | 8206.286 | 49404.75
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78388 | 8 | 16912
SRSG |  | 15693 | 7 | 3241
CAMX* |  | 33400 | 19 | 5003
WI TOTAL |  | 126212 | 8 | 26802
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-01-31 |  | Path 80 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 28.2
Low (F) | 20.8
Overcast |  | 70459.9779 | 73.86% | 73.86% | 26.14% | 70,460 MW
|  | 15028.795 | 60.61% | 60.61% | 39.39% | 15,029 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.1 | 32502.1496 | 61.79% | 61.79% | 38.21% | 32,502 MW
Low (F) | 40.6
Moderate rain
Billings, MT
High (F) | 40.1
Low (F) | 20.7
Overcast
Loveland, CO
High (F) | 50.2
Low (F) | 20.1
Sunny
Los Angeles, CA
High (F) | 61.3
Low (F) | 49.5
Partly Cloudy
Phoenix, AZ
High (F) | 69.4
Low (F) | 36.7
Sunny
Salt Lake City, UT
High (F) | 45.5
Low (F) | 15.8
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,460 MW
15,029 MW
32,502 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend