## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.9 |  | -6.7 |  | 36.9 | 61.7
Low: |  | 50.9 |  | -12.8 |  | 20.8 | 53.2
Conditions: |  | Moderate rain |  | Overcast |  | Moderate or heavy snow showers | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73823.6561 | 19 | 10555.3051 |  | 4694.0741 | 16054.22
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12781.8988 | 18 | 1448 |  | 830.8234 | 9750.04
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32137.7503 | 19 | 4399.9 |  | 2719.9 | 20099.83
Includes CFE, CISO & LDWP
WI TOTAL |  | 118653.7548 | 19 | 16432.2051 |  | 8039.7841 | 45692.09
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74735 | 18 | 15636
SRSG |  | 12568 | 18 | 4163
CAMX* |  | 29374 | 19 | 4997
WI TOTAL |  | 116487 | 18 | 24878
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
02-02/02-03 |  | Path 80 |  | 4 | 11

## Map
Weather Information
Calgary, AB
High (F) | -6.7
Low (F) | -12.8
Overcast |  | 73823.6561 | 77.39% | 77.39% | 22.61% | 73,824 MW
|  | 12781.8988 | 51.55% | 51.55% | 48.45% | 12,782 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 37.8 | 32137.7503 | 61.1% | 61.1% | 38.9% | 32,138 MW
Low (F) | 32.9
Patchy rain nearby
Billings, MT
High (F) | 8.8
Low (F) | 2.5
Moderate or heavy snow showers
Loveland, CO
High (F) | 57.7
Low (F) | 30.2
Partly Cloudy
Los Angeles, CA
High (F) | 64.4
Low (F) | 53.1
Partly Cloudy
Phoenix, AZ
High (F) | 84.4
Low (F) | 46
Sunny
Salt Lake City, UT
High (F) | 51.1
Low (F) | 35.4
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,824 MW
12,782 MW
32,138 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend