## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 52.7 |  | -3.3 |  | 34.7 | 65.3
Low: |  | 38.1 |  | -10.1 |  | 19.8 | 46
Conditions: |  | Partly Cloudy |  | Moderate snow |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74166.8552 | 19 | 10827.0692 |  | 4788.7482 | 17649.46
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12419.5517 | 19 | 1524 |  | 807.2709 | 10773.98
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31994.3206 | 19 | 4560.57 |  | 2736.57 | 22799.99
Includes CFE, CISO & LDWP
WI TOTAL |  | 118607.8275 | 19 | 16911.6392 |  | 8130.1382 | 51047.43
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78535 | 18 | 13967
SRSG |  | 12964 | 18 | 3855
CAMX* |  | 33197 | 9 | 6762
WI TOTAL |  | 123836 | 18 | 22969
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
02-04/02-05 |  | Path 80 |  | 4 | 4

## Map
Weather Information
Calgary, AB
High (F) | -3.3
Low (F) | -10.1
Moderate snow |  | 74166.8552 | 77.75% | 77.75% | 22.25% | 74,167 MW
|  | 12419.5517 | 50.08% | 50.08% | 49.92% | 12,420 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 38.7 | 31994.3206 | 60.83% | 60.83% | 39.17% | 31,994 MW
Low (F) | 29.1
Patchy rain nearby
Billings, MT
High (F) | 21.6
Low (F) | 6.4
Overcast
Loveland, CO
High (F) | 58.6
Low (F) | 26.1
Sunny
Los Angeles, CA
High (F) | 57.9
Low (F) | 52.5
Patchy rain nearby
Phoenix, AZ
High (F) | 78.6
Low (F) | 47.8
Sunny
Salt Lake City, UT
High (F) | 42.6
Low (F) | 33.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,167 MW
12,420 MW
31,994 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend