## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.5 |  | 11.8 |  | 34.5 | 46.8
Low: |  | 41.8 |  | -4.5 |  | 25.9 | 42.8
Conditions: |  | Moderate rain |  | Partly Cloudy |  | Sunny | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74064.0603 | 8 | 12341.1925 |  | 4965.8125 | 17546.87
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12589.0107 | 7 | 1638 |  | 818.2857 | 11530.78
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31928.6369 | 19 | 4625.46 |  | 2701.46 | 24910.12
Includes CFE, CISO & LDWP
WI TOTAL |  | 116652.6316 | 19 | 18445.7918 |  | 8041.8108 | 53691.77
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77563 | 18 | 15660
SRSG |  | 12979 | 7 | 3027
CAMX* |  | 34190 | 9 | 6166
WI TOTAL |  | 122972 | 18 | 23997
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
02-06/02-07 |  | Path 80 |  | 4 | 11

## Map
Weather Information
Calgary, AB
High (F) | 11.8
Low (F) | -4.5
Partly Cloudy |  | 74064.0603 | 77.64% | 77.64% | 22.36% | 74,064 MW
|  | 12589.0107 | 50.77% | 50.77% | 49.23% | 12,589 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 40.6 | 31928.6369 | 60.7% | 60.7% | 39.3% | 31,929 MW
Low (F) | 27.7
Partly Cloudy
Billings, MT
High (F) | 15.1
Low (F) | -2
Moderate or heavy snow showers
Loveland, CO
High (F) | 59.5
Low (F) | 27.5
Sunny
Los Angeles, CA
High (F) | 59.9
Low (F) | 52.5
Moderate rain
Phoenix, AZ
High (F) | 73.2
Low (F) | 45.7
Sunny
Salt Lake City, UT
High (F) | 48.2
Low (F) | 32.7
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,064 MW
12,589 MW
31,929 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend