## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-10
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 52.7 |  | 8.1 |  | 39.9 | 39.2
Low: |  | 30.6 |  | -15.5 |  | 26.4 | 34.7
Conditions: |  | Partly Cloudy |  | Sunny |  | Sunny | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 77247.7947 | 8 | 14084.9794 |  | 5111.3874 | 14673.53
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12419.6308 | 19 | 1754 |  | 807.276 | 10461
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32037.6563 | 19 | 4516.26 |  | 2726.26 | 23152.89
Includes CFE, CISO & LDWP
WI TOTAL |  | 121071.1739 | 19 | 19902.9518 |  | 8238.7788 | 48216.42
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73072 | 20 | 15411
SRSG |  | 11904 | 20 | 3748
CAMX* |  | 28453 | 20 | 4444
WI TOTAL |  | 113429 | 20 | 23603
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 8.1
Low (F) | -15.5
Sunny |  | 77247.7947 | 80.98% | 80.98% | 19.02% | 77,248 MW
|  | 12419.6308 | 50.09% | 50.09% | 49.91% | 12,420 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43.5 | 32037.6563 | 60.91% | 60.91% | 39.09% | 32,038 MW
Low (F) | 23
Mist
Billings, MT
High (F) | 9.7
Low (F) | -12.1
Overcast
Loveland, CO
High (F) | 38.8
Low (F) | 18.7
Partly Cloudy
Los Angeles, CA
High (F) | 57
Low (F) | 49.5
Partly Cloudy
Phoenix, AZ
High (F) | 79.9
Low (F) | 52.2
Partly Cloudy
Salt Lake City, UT
High (F) | 36.7
Low (F) | 16.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
77,248 MW
12,420 MW
32,038 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend