## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 50.4 |  | 12.6 |  | 36.1 | 42.1
Low: |  | 31.5 |  | -8.3 |  | 22.5 | 36.7
Conditions: |  | Cloudy |  | Overcast |  | Sunny | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 80146.5233 | 8 | 12658.039 |  | 5169.008 | 15544.02
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12499.058 | 19 | 1432 |  | 812.4388 | 10213.56
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32335.1888 | 19 | 4542.51 |  | 2743.51 | 24909.91
Includes CFE, CISO & LDWP
WI TOTAL |  | 122635.6432 | 8 | 20142.409 |  | 8444.648 | 50650.49
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80008 | 19 | 14426
SRSG |  | 12758 | 18 | 3584
CAMX* |  | 31984 | 19 | 4731
WI TOTAL |  | 124725 | 19 | 22362
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 12.6
Low (F) | -8.3
Overcast |  | 80146.5233 | 84.02% | 84.02% | 15.98% | 80,147 MW
|  | 12499.058 | 50.41% | 50.41% | 49.59% | 12,499 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 40.8 | 32335.1888 | 61.48% | 61.48% | 38.52% | 32,335 MW
Low (F) | 23.2
Sunny
Billings, MT
High (F) | 15.1
Low (F) | -20.7
Sunny
Loveland, CO
High (F) | 22.1
Low (F) | 11.5
Overcast
Los Angeles, CA
High (F) | 56.8
Low (F) | 48.4
Mist
Phoenix, AZ
High (F) | 65.7
Low (F) | 47.8
Sunny
Salt Lake City, UT
High (F) | 28.2
Low (F) | 19.2
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
80,147 MW
12,499 MW
32,335 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend