## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59.4 |  | 14.7 |  | 41.7 | 43.2
Low: |  | 33.6 |  | -14.6 |  | 24.8 | 36.3
Conditions: |  | Patchy rain nearby |  | Sunny |  | Sunny | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 81424.9087 | 8 | 10602.5039 |  | 5212.4889 | 16547.43
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12817.1451 | 7 | 1727 |  | 833.1144 | 9870.49
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33485.1287 | 19 | 4522.91 |  | 2713.91 | 25309.33
Includes CFE, CISO & LDWP
WI TOTAL |  | 124947.6222 | 8 | 17981.0339 |  | 8638.8489 | 51546.25
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 83140 | 8 | 13700
SRSG |  | 12836 | 18 | 3433
CAMX* |  | 33217 | 19 | 4574
WI TOTAL |  | 127547 | 8 | 24222
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 14.7
Low (F) | -14.6
Sunny |  | 81424.9087 | 85.36% | 85.36% | 14.64% | 81,425 MW
|  | 12817.1451 | 51.69% | 51.69% | 48.31% | 12,817 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43.9 | 33485.1287 | 63.66% | 63.66% | 36.34% | 33,485 MW
Low (F) | 22.5
Sunny
Billings, MT
High (F) | 14.5
Low (F) | -17
Sunny
Loveland, CO
High (F) | 16.3
Low (F) | 5.4
Moderate or heavy snow showers
Los Angeles, CA
High (F) | 53.2
Low (F) | 48
Patchy rain nearby
Phoenix, AZ
High (F) | 66.7
Low (F) | 44.4
Overcast
Salt Lake City, UT
High (F) | 25
Low (F) | 13.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
81,425 MW
12,817 MW
33,485 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend