## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 54.3 |  | 13.6 |  | 37.2 | 43.7
Low: |  | 43.7 |  | -4.7 |  | 28.8 | 26.4
Conditions: |  | Heavy rain |  | Partly Cloudy |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 80101.8801 | 8 | 12152.3443 |  | 5217.5222 | 17685.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13298.0218 | 7 | 1571 |  | 864.3714 | 9703.73
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33008.3209 | 19 | 4478.41 |  | 2767.41 | 24677.26
Includes CFE, CISO & LDWP
WI TOTAL |  | 123261.2821 | 8 | 18778.9342 |  | 8572.4922 | 51993.58
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 85035 | 8 | 14104
SRSG |  | 13294 | 19 | 2856
CAMX* |  | 33822 | 18 | 5193
WI TOTAL |  | 130935 | 8 | 23881
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 13.6
Low (F) | -4.7
Partly Cloudy |  | 80101.8801 | 83.97% | 83.97% | 16.03% | 80,102 MW
|  | 13298.0218 | 53.63% | 53.63% | 46.37% | 13,298 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 32.5 | 33008.3209 | 62.76% | 62.76% | 37.24% | 33,008 MW
Low (F) | 24.4
Overcast
Billings, MT
High (F) | 25.5
Low (F) | -8.1
Partly Cloudy
Loveland, CO
High (F) | 40.5
Low (F) | -2.6
Partly Cloudy
Los Angeles, CA
High (F) | 57.9
Low (F) | 51.8
Heavy rain
Phoenix, AZ
High (F) | 69.1
Low (F) | 42.4
Overcast
Salt Lake City, UT
High (F) | 37.8
Low (F) | 9.3
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
80,102 MW
13,298 MW
33,008 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend