## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-14
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 52.9 |  | 3.4 |  | 41.9 | 46.2
Low: |  | 43.1 |  | -2.6 |  | 32.7 | 28.4
Conditions: |  | Moderate rain |  | Overcast |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 74995.2421 | 8 | 12942.6274 |  | 5015.8354 | 19598.99
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12427.8612 | 7 | 1597 |  | 807.811 | 10356.01
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31851.3776 | 19 | 4590.93 |  | 2706.93 | 25491.79
Includes CFE, CISO & LDWP
WI TOTAL |  | 117750.5898 | 19 | 18392.834 |  | 8076.837 | 55290.79
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 83218 | 8 | 15057
SRSG |  | 13665 | 7 | 3158
CAMX* |  | 33966 | 14 | 6345
WI TOTAL |  | 128077 | 9 | 24608
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-02-13 |  | Path 80 |  | 4 | 1

## Map
Weather Information
Calgary, AB
High (F) | 3.4
Low (F) | -2.6
Overcast |  | 74995.2421 | 78.62% | 78.62% | 21.38% | 74,995 MW
|  | 12427.8612 | 50.12% | 50.12% | 49.88% | 12,428 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 43.9 | 31851.3776 | 60.56% | 60.56% | 39.44% | 31,851 MW
Low (F) | 30
Patchy rain nearby
Billings, MT
High (F) | 25.5
Low (F) | 9.7
Moderate or heavy snow showers
Loveland, CO
High (F) | 52
Low (F) | 20.1
Partly Cloudy
Los Angeles, CA
High (F) | 62.1
Low (F) | 53.1
Patchy rain nearby
Phoenix, AZ
High (F) | 66.2
Low (F) | 54
Overcast
Salt Lake City, UT
High (F) | 41.5
Low (F) | 30.7
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
74,995 MW
12,428 MW
31,851 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend