## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59.2 |  | 0.5 |  | 44.8 | 34
Low: |  | 39.4 |  | -10.7 |  | 35.2 | 27.9
Conditions: |  | Cloudy |  | Overcast |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70705.7228 | 19 | 11022.1846 |  | 4595.872 | 17635.43
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12543.5305 | 19 | 1544 |  | 815.3295 | 10131.8
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31123.9141 | 19 | 4228.64 |  | 2685.64 | 24850.27
Includes CFE, CISO & LDWP
WI TOTAL |  | 114426.2674 | 19 | 16794.8246 |  | 7202.4436 | 52372.5
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73586 | 19 | 13969
SRSG |  | 12935 | 19 | 3768
CAMX* |  | 30992 | 19 | 4440
WI TOTAL |  | 117513 | 19 | 22177
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 0.5
Low (F) | -10.7
Overcast |  | 70705.7228 | 74.12% | 74.12% | 25.88% | 70,706 MW
|  | 12543.5305 | 50.58% | 50.58% | 49.42% | 12,544 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.4 | 31123.9141 | 59.17% | 59.17% | 40.83% | 31,124 MW
Low (F) | 43.3
Moderate rain
Billings, MT
High (F) | 2.7
Low (F) | -12.8
Moderate or heavy snow showers
Loveland, CO
High (F) | 23.9
Low (F) | 2.8
Cloudy
Los Angeles, CA
High (F) | 62.2
Low (F) | 49.3
Partly Cloudy
Phoenix, AZ
High (F) | 77.4
Low (F) | 48.4
Sunny
Salt Lake City, UT
High (F) | 37.6
Low (F) | 30.7
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,706 MW
12,544 MW
31,124 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend