## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.7 |  | 9.1 |  | 45.9 | 37.4
Low: |  | 47.8 |  | -16.4 |  | 40.1 | 19.6
Conditions: |  | Overcast |  | Partly Cloudy |  | Heavy rain | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70462.5811 | 19 | 10096.3273 |  | 4580.0678 | 17393.09
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12721.823 | 7 | 1592 |  | 826.9185 | 10229.44
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31023.8538 | 19 | 4527.61 |  | 2686.61 | 25765.75
Includes CFE, CISO & LDWP
WI TOTAL |  | 114187.558 | 19 | 15886.9373 |  | 7153.6173 | 53182.28
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73663 | 18 | 14055
SRSG |  | 12909 | 19 | 3303
CAMX* |  | 30971 | 19 | 4087
WI TOTAL |  | 117341 | 18 | 22474
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 9.1
Low (F) | -16.4
Partly Cloudy |  | 70462.5811 | 73.87% | 73.87% | 26.13% | 70,463 MW
|  | 12721.823 | 51.3% | 51.3% | 48.7% | 12,722 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.6 | 31023.8538 | 58.98% | 58.98% | 41.02% | 31,024 MW
Low (F) | 41.4
Moderate rain
Billings, MT
High (F) | 11.3
Low (F) | -24
Partly Cloudy
Loveland, CO
High (F) | 21
Low (F) | 0.3
Partly Cloudy
Los Angeles, CA
High (F) | 61.9
Low (F) | 52
Partly Cloudy
Phoenix, AZ
High (F) | 80.2
Low (F) | 46.8
Sunny
Salt Lake City, UT
High (F) | 39.6
Low (F) | 21.4
Moderate snow
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,463 MW
12,722 MW
31,024 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend