## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 66 |  | 40.8 |  | 43.3 | 31.5
Low: |  | 40.3 |  | 6.4 |  | 41 | 13.5
Conditions: |  | Sunny |  | Partly Cloudy |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70226.3416 | 8 | 11504.2084 |  | 4564.7122 | 20185.7
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12662.3326 | 7 | 1552 |  | 823.0516 | 10507.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31018.3067 | 19 | 5188.1 |  | 2656.1 | 26123.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 113151.9412 | 19 | 16526.0168 |  | 7038.9448 | 56462.69
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73985 | 18 | 15057
SRSG |  | 13208 | 7 | 2755
CAMX* |  | 31154 | 19 | 4633
WI TOTAL |  | 117768 | 19 | 23284
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 40.8
Low (F) | 6.4
Partly Cloudy |  | 70226.3416 | 73.62% | 73.62% | 26.38% | 70,226 MW
|  | 12662.3326 | 51.06% | 51.06% | 48.94% | 12,662 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.1 | 31018.3067 | 58.97% | 58.97% | 41.03% | 31,018 MW
Low (F) | 38.9
Overcast
Billings, MT
High (F) | 36.1
Low (F) | 2.5
Overcast
Loveland, CO
High (F) | 25
Low (F) | 4.6
Moderate snow
Los Angeles, CA
High (F) | 75.4
Low (F) | 49.8
Sunny
Phoenix, AZ
High (F) | 81.1
Low (F) | 48.2
Sunny
Salt Lake City, UT
High (F) | 35.1
Low (F) | 29.3
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,226 MW
12,662 MW
31,018 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend