## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64.2 |  | 41.5 |  | 44.6 | 35.4
Low: |  | 36.9 |  | 23.4 |  | 40.5 | 19.6
Conditions: |  | Partly Cloudy |  | Cloudy |  | Heavy rain | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 68918.8411 | 8 | 11591.7299 |  | 4479.7247 | 18435.92
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12534.4141 | 7 | 1371 |  | 814.7369 | 9818.47
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30164.9024 | 19 | 4520.07 |  | 2616.07 | 24695.05
Includes CFE, CISO & LDWP
WI TOTAL |  | 109088.508 | 8 | 18680.3299 |  | 6925.2059 | 52917.44
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72705 | 8 | 17942
SRSG |  | 13166 | 7 | 3459
CAMX* |  | 30576 | 8 | 5466
WI TOTAL |  | 115917 | 8 | 28010
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 41.5
Low (F) | 23.4
Cloudy |  | 68918.8411 | 72.25% | 72.25% | 27.75% | 68,919 MW
|  | 12534.4141 | 50.55% | 50.55% | 49.45% | 12,534 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48 | 30164.9024 | 57.35% | 57.35% | 42.65% | 30,165 MW
Low (F) | 35.4
Overcast
Billings, MT
High (F) | 38.5
Low (F) | 14.2
Partly Cloudy
Loveland, CO
High (F) | 41.4
Low (F) | 18.3
Moderate snow
Los Angeles, CA
High (F) | 77.2
Low (F) | 52.5
Sunny
Phoenix, AZ
High (F) | 80.8
Low (F) | 46.2
Sunny
Salt Lake City, UT
High (F) | 33.3
Low (F) | 18.9
Mist
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
68,919 MW
12,534 MW
30,165 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend