## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 66.6 |  | 42.4 |  | 47.8 | 74.7
Low: |  | 47.8 |  | 25.2 |  | 40.3 | 40.6
Conditions: |  | Cloudy |  | Cloudy |  | Moderate rain | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67518.8864 | 19 | 13968.1748 |  | 4246.2448 | 17820.52
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13081.7359 | 18 | 1518 |  | 850.3128 | 9302.01
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31464.4091 | 19 | 4634.75 |  | 2702.75 | 25492.37
Includes CFE, CISO & LDWP
WI TOTAL |  | 112185.2678 | 19 | 20129.9248 |  | 7583.8248 | 52486.9
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68396 | 13 | 15752
SRSG |  | 12715 | 15 | 3683
CAMX* |  | 31098 | 14 | 4649
WI TOTAL |  | 110799 | 15 | 23926
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-02-24 |  | Path 80 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 42.4
Low (F) | 25.2
Cloudy |  | 67518.8864 | 70.78% | 70.78% | 29.22% | 67,519 MW
|  | 13081.7359 | 52.76% | 52.76% | 47.24% | 13,082 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.5 | 31464.4091 | 59.82% | 59.82% | 40.18% | 31,464 MW
Low (F) | 39.6
Patchy rain nearby
Billings, MT
High (F) | 44.2
Low (F) | 28.9
Partly Cloudy
Loveland, CO
High (F) | 64.8
Low (F) | 30.9
Sunny
Los Angeles, CA
High (F) | 66.7
Low (F) | 51.8
Partly Cloudy
Phoenix, AZ
High (F) | 90.1
Low (F) | 51.3
Sunny
Salt Lake City, UT
High (F) | 42.8
Low (F) | 30.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,519 MW
13,082 MW
31,464 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend