## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-27
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 73.9 |  | 52.5 |  | 49.6 | 67.6
Low: |  | 43 |  | 28.9 |  | 42.4 | 51.3
Conditions: |  | Partly Cloudy |  | Partly Cloudy |  | Overcast | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66834.8592 | 8 | 16511.5454 |  | 4507.0054 | 17700.58
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12605.5101 | 18 | 1427 |  | 819.3582 | 10792.77
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31136.2374 | 19 | 4587.12 |  | 2675.12 | 23409.41
Includes CFE, CISO & LDWP
WI TOTAL |  | 108301.5626 | 19 | 20818.1235 |  | 7652.7155 | 51284.76
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69765 | 8 | 19669
SRSG |  | 13609 | 18 | 4311
CAMX* |  | 31263 | 20 | 4231
WI TOTAL |  | 111937 | 19 | 24977
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 52.5
Low (F) | 28.9
Partly Cloudy |  | 66834.8592 | 70.06% | 70.06% | 29.94% | 66,835 MW
|  | 12605.5101 | 50.83% | 50.83% | 49.17% | 12,606 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 68.4 | 31136.2374 | 59.2% | 59.2% | 40.8% | 31,136 MW
Low (F) | 36
Sunny
Billings, MT
High (F) | 47.1
Low (F) | 25.5
Sunny
Loveland, CO
High (F) | 57.4
Low (F) | 26.4
Sunny
Los Angeles, CA
High (F) | 84.9
Low (F) | 57.2
Partly Cloudy
Phoenix, AZ
High (F) | 81.1
Low (F) | 55.8
Sunny
Salt Lake City, UT
High (F) | 51.1
Low (F) | 19.6
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,835 MW
12,606 MW
31,136 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend