## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-02-28
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 71.4 |  | 41.9 |  | 57.7 | 74.5
Low: |  | 50.2 |  | 28.6 |  | 43.5 | 46.6
Conditions: |  | Overcast |  | Overcast |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65581.6457 | 8 | 16562.2879 |  | 4412.6389 | 17755.97
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12221.8959 | 19 | 1422 |  | 794.4232 | 11287.16
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30107.1635 | 19 | 4574.65 |  | 2612.65 | 22604.13
Includes CFE, CISO & LDWP
WI TOTAL |  | 105620.6602 | 19 | 20103.2128 |  | 7376.4138 | 51293.26
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69443 | 8 | 20528
SRSG |  | 13301 | 19 | 3760
CAMX* |  | 31245 | 19 | 4466
WI TOTAL |  | 110684 | 19 | 26500
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-02-27 |  | Path 80 |  | 4 | 6

## Map
Weather Information
Calgary, AB
High (F) | 41.9
Low (F) | 28.6
Overcast |  | 65581.6457 | 68.75% | 68.75% | 31.25% | 65,582 MW
|  | 12221.8959 | 49.29% | 49.29% | 50.71% | 12,222 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 66.4 | 30107.1635 | 57.24% | 57.24% | 42.76% | 30,107 MW
Low (F) | 34.3
Partly Cloudy
Billings, MT
High (F) | 44.2
Low (F) | 25.7
Partly Cloudy
Loveland, CO
High (F) | 62.4
Low (F) | 30.7
Sunny
Los Angeles, CA
High (F) | 59.4
Low (F) | 52.3
Overcast
Phoenix, AZ
High (F) | 80.1
Low (F) | 50.9
Sunny
Salt Lake City, UT
High (F) | 52.5
Low (F) | 24.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,582 MW
12,222 MW
30,107 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend