## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57 |  | 35.6 |  | 47.3 | 55.9
Low: |  | 41.2 |  | 27.3 |  | 41.5 | 42.1
Conditions: |  | Cloudy |  | Moderate snow |  | Fog | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66178.4862 | 19 | 14804.1017 |  | 4363.7797 | 18563.54
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12481.4297 | 19 | 1354 |  | 811.2929 | 12721.51
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30836.5153 | 20 | 4052.34 |  | 2645.34 | 26200.52
Includes CFE, CISO & LDWP
WI TOTAL |  | 109546.0837 | 19 | 20247.6517 |  | 7646.4497 | 57169.57
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63933 | 19 | 18034
SRSG |  | 12912 | 19 | 3088
CAMX* |  | 28681 | 20 | 3943
WI TOTAL |  | 105493 | 19 | 25261
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 35.6
Low (F) | 27.3
Moderate snow |  | 66178.4862 | 69.37% | 69.37% | 30.63% | 66,178 MW
|  | 12481.4297 | 50.33% | 50.33% | 49.67% | 12,481 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.9 | 30836.5153 | 58.63% | 58.63% | 41.37% | 30,837 MW
Low (F) | 43.6
Overcast
Billings, MT
High (F) | 43.5
Low (F) | 24.8
Overcast
Loveland, CO
High (F) | 62.6
Low (F) | 34
Moderate rain
Los Angeles, CA
High (F) | 62.4
Low (F) | 48.4
Sunny
Phoenix, AZ
High (F) | 63.5
Low (F) | 42.8
Sunny
Salt Lake City, UT
High (F) | 42.6
Low (F) | 28.2
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,178 MW
12,481 MW
30,837 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend