## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.7 |  | 38.5 |  | 46.8 | 67.6
Low: |  | 45.5 |  | 25 |  | 42.6 | 52
Conditions: |  | Partly Cloudy |  | Cloudy |  | Moderate rain | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65885.6311 | 19 | 14384.1176 |  | 4347.4586 | 19181.84
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12733.6564 | 6 | 1465 |  | 827.6877 | 11163.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30872.2942 | 20 | 4415.19 |  | 2665.19 | 28249.95
Includes CFE, CISO & LDWP
WI TOTAL |  | 109119.0829 | 19 | 20092.6376 |  | 7639.7086 | 58433.61
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67680 | 19 | 16692
SRSG |  | 13307 | 19 | 3608
CAMX* |  | 31376 | 19 | 5517
WI TOTAL |  | 112363 | 19 | 25817
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 38.5
Low (F) | 25
Cloudy |  | 65885.6311 | 69.07% | 69.07% | 30.93% | 65,886 MW
|  | 12733.6564 | 51.35% | 51.35% | 48.65% | 12,734 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.8 | 30872.2942 | 58.7% | 58.7% | 41.3% | 30,872 MW
Low (F) | 39.5
Patchy rain nearby
Billings, MT
High (F) | 37.6
Low (F) | 27.9
Moderate or heavy snow showers
Loveland, CO
High (F) | 48.9
Low (F) | 28.2
Partly Cloudy
Los Angeles, CA
High (F) | 66.2
Low (F) | 47.8
Partly Cloudy
Phoenix, AZ
High (F) | 73.6
Low (F) | 42.8
Sunny
Salt Lake City, UT
High (F) | 43.2
Low (F) | 31.8
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,886 MW
12,734 MW
30,872 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend