## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 49.1 |  | 37 |  | 49.8 | 53.6
Low: |  | 42.5 |  | 26.1 |  | 40.3 | 41
Conditions: |  | Mist |  | Overcast |  | Patchy rain nearby | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65915.951 | 8 | 15805.1459 |  | 4545.1259 | 19475.45
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12497.374 | 6 | 1434 |  | 812.3293 | 11847.78
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31505.4411 | 19 | 4658.47 |  | 2731.47 | 28624.52
Includes CFE, CISO & LDWP
WI TOTAL |  | 109179.2942 | 19 | 20599.9855 |  | 7672.8615 | 59738.75
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67809 | 19 | 16701
SRSG |  | 13339 | 7 | 3698
CAMX* |  | 31661 | 9 | 6805
WI TOTAL |  | 111612 | 19 | 25735
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-03-04 |  | Path 80 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 37
Low (F) | 26.1
Overcast |  | 65915.951 | 69.1% | 69.1% | 30.9% | 65,916 MW
|  | 12497.374 | 50.4% | 50.4% | 49.6% | 12,497 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 52.7 | 31505.4411 | 59.9% | 59.9% | 40.1% | 31,505 MW
Low (F) | 39.7
Cloudy
Billings, MT
High (F) | 49.8
Low (F) | 23.4
Cloudy
Loveland, CO
High (F) | 56.1
Low (F) | 25.2
Sunny
Los Angeles, CA
High (F) | 57.2
Low (F) | 51.3
Overcast
Phoenix, AZ
High (F) | 78.8
Low (F) | 46.4
Partly Cloudy
Salt Lake City, UT
High (F) | 50.4
Low (F) | 28.8
Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,916 MW
12,497 MW
31,505 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend