## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 48 |  | 45.1 |  | 51.8 | 60.6
Low: |  | 38 |  | 24.8 |  | 37.6 | 36.5
Conditions: |  | Mist |  | Partly Cloudy |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66669.7715 | 8 | 15320.7704 |  | 4537.6064 | 19500.88
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12450.2435 | 19 | 1255 |  | 809.2658 | 12611.04
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31946.44 | 20 | 4717 |  | 2755 | 28905.41
Includes CFE, CISO & LDWP
WI TOTAL |  | 109719.8499 | 19 | 18771.896 |  | 7731.406 | 60448.33
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67821 | 8 | 15688
SRSG |  | 12889 | 19 | 3619
CAMX* |  | 32492 | 12 | 5287
WI TOTAL |  | 112485 | 19 | 22082
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-03-05 |  | Path 80 |  | 4 | 2

## Map
Weather Information
Calgary, AB
High (F) | 45.1
Low (F) | 24.8
Partly Cloudy |  | 66669.7715 | 69.89% | 69.89% | 30.11% | 66,670 MW
|  | 12450.2435 | 50.21% | 50.21% | 49.79% | 12,450 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55.4 | 31946.44 | 60.74% | 60.74% | 39.26% | 31,946 MW
Low (F) | 36.1
Partly Cloudy
Billings, MT
High (F) | 34.9
Low (F) | 27
Overcast
Loveland, CO
High (F) | 57
Low (F) | 34.3
Overcast
Los Angeles, CA
High (F) | 55.6
Low (F) | 49.6
Partly Cloudy
Phoenix, AZ
High (F) | 69.6
Low (F) | 53.1
Patchy rain nearby
Salt Lake City, UT
High (F) | 45.7
Low (F) | 34.5
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,670 MW
12,450 MW
31,946 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend